BUilding Technology Svcs, inc.

facsimile transmittal sheet

| to: |  | from: |
| --- | --- | --- |
| Counter |  | Rob C. cell# 561-718-5380 |
| company: |  | date: |
| Arco Supply |  | 5-5-11 |
| fax number: |  | total no. of pages including cover: |
| 561-586-2330 |  | 1 |
| Phone number: |  | sender’s reference number: |
| 561-586-3331 |  |  |
| Re: |  | Your reference number: |
| Order cut R-4 duct |  | PO# 777527 |

 Urgent	X For Review	 Please Comment	X Please Reply	 Please Recycle

notes/Comments:

I need to order; (4) sheets of R-4 ductboard. I need them cut as follows; (6) Pcs. 16 x 12 and (1) Pc. 20 x 21.

(60) feet- 10” round pipe (galv. Steel)

(65) feet- 8” round pipe (galv. Steel)

(10) 10” adj. elbows

(7) 8” adj. elbows

(2) 10” tees

(4) 10”x8” reducers

(2) 10” collars

(5) 10” collars w/dampers

(4) 8” collars

(1) 8” collar w/damper

(1) tub gray mastic

(2) 3” mastic brushes

(1) roll 26 ga. x 1.5” strap

(1) roll 26 ga. x 1” strap

(1) box 6” flex (silver)

(1) box 8” flex (silver)

(1) box 10” flex (silver)

(2) rolls foil tape (Fasson)

Please deliver Monday morning to: 2101 Centrepark West Drive, Suite 110, WPB, FL. 33401

13833 Wellington trace e4-157 wellington florida 33414 561-712-1126 fax 712-1407