BUilding Technology Svcs, inc. license# cac058685

13833 Wellington trace #e4-157, wellington, fl. 33414 561-712-1126 fax 561-712-1407

CHANGE ORDER #1

To: Ed Huff

From: Rob Campbell

Date: 5/15/07

Project: Greenberg Traurig T. I.

The following changes were requested by owner/contractor:

Provide and install (1) Air Guide PS-1 supply air diffuser, R-6 flexible ductwork, collars, dampers and miscellaneous materials to disconnect (4) existing diffusers, cap off and seal existing ductwork and re-connect said diffusers to other existing supply air ductwork as per site survey, and 6th floor tenant approval. Awaiting building management approval.

Price………………….$2,800.00

Acceptance:

By:__________________________________               Date:________________________

Fisher Contracting Corp.

It’s: