Air Outlet

Test Report

Project:       Southern Park of Commerce                                                                  System:       Exhaust Fans

Location:     Building “B”, Bay 11, West Palm Beach, Florida                                      Test Apparatus:  Flowhood

| ### Area Served/ Room Number | No. | ### Type | ### Size | ### Design CFM | ### Prelim CFM | ### Prelim CFM |  | ### Final CFM | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Restroom | - | - | - | 57 | 55 |  |  | 55 |  |

Remarks:

Test Date: 12-03-09                                             Readings By: Martinez                                              Page 3 of 4