BUilding Technology Svcs, inc.

facsimile transmittal sheet

| to: |  | from: |
| --- | --- | --- |
| Counter staff |  | Rob C. |
| company: |  | date: |
| Arco Supply |  | 7/26/13 |
| fax number: |  | total no. of pages including cover: |
| 561-586-2330 |  | 1 |
| Phone number: |  | sender’s reference number: |
| Re: |  | Your reference number: |
| Order for delivery |  |  |

 Urgent	 For Review	 Please Comment	X Please Reply	 Please Recycle

notes/Comments:

Hi, I would like to place an order to be delivered Tuesday July 30, between 9-10 am to AJFCS located at 5841 Corporate Way, Suite 200, West Palm Beach, FL. 33407. Use P.O.# 781769.

R-6 Ductboard:

- 23x16

- 21x19

- 16x16

(2)-Rolls Fasson aluminum tape

(1) Goodman ARUF48D14 with 5KW heat w/breaker

(20) Feet 3/8” threaded rod

(20) Feet deep unistrut

(1) 30”x60” standard drain pan

(1) Roll 18/5 t-stat wire

(50) Feet 7/8” soft copper

(50) Feet 3/8” soft copper

(36) Feet 7/8”i.d.x1/2”wall solid elastomeric pipe insulation and (6) Feet split

Any questions, please call Rob’s cell- 561-718-5382.

Please fax or email- 561-712-1407 or   rob@bts-ac.com

Thank you.