BUilding Technology Svcs, inc. license# cac058685

2257 Vista parkway, suite 20 west palm beach fl 33411 561-712-1126 fax 561-712-1407

July 30, 2010                                                 Revision #1

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: RBC WEALTH MANAGEMENT

We hereby submit specifications and estimate to:

Provide and install; (1) Carrier 42DAC08 fan coil unit per equipment schedule with hydronic components per detail, (63) Titus grilles (white), room temperature sensor with warmer/cooler adjustment, R-4 fiberglass ductwork, galvanized steel outside air ductwork, copper chilled water and drain piping. (1) Mitsubishi MUY-G09NA duct less mini-split air conditioner with wired thermostat, copper line-set and drain, (1) 6’ long x 18” high Aluma Stand and (1) 8”x8” gooseneck. Independent test & balance and (1) year warranty.

Price…………………$26,000.00

Price to include: No fee sub-permit, labor, and miscellaneous materials.

Price does not include: Roofing, structural steel work, duct smoke detectors, after-hours labor, cutting/coring/patching of concrete or roof.

Thank you,

Robert Campbell,

B.T.S., Inc.