BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

April 15, 2010                                             Alternate #1

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: CHRISTIANSEN & JACKNIN

We hereby submit specifications and estimate to:

Provide and install; (1) Trane VCCF08 VAV with pneumatic actuator including pneumatic thermostat, tubing, and fittings. Duct low-pressure ductwork in R-4 fiberglass and medium pressure in galvanized steel pipe. (3) Type B fire dampers and relocate trunk line with (1) 22x12 galvanized steel duct offset. Relocate supply air grille/flex duct including new flex duct from new VAV low-pressure branch to relocated supply grille. Duct existing VAV inlet with galvanized steel pipe to high-pressure duct. Re-balance airflow on all affected supply drops and VAV’s. (1) Year Warranty.

Price…………………$4,200.00

Price to include: Sub-permit, labor, and miscellaneous materials.

Price does not include: No EMS/BMS work, or anything not specifically stated above.

After-Hours Labor………………………………….Add $300.00

Thank you,

Robert Campbell,

B.T.S., Inc.