BUilding Technology Svcs, inc. license# cac058685

2257 Vista parkway, suite 20 west palm beach fl 33411 561-712-1126 fax 561-712-1407

December 8, 2010

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: CREDIT MAX

We hereby submit specifications and estimate to:

Provide and install; (25) Titus grilles with new R-6 flex duct on supply grilles, relocation of (5) additional grilles with new R-6 flex duct where necessary, relocation of (1) VAV (and t-stat) with new R-4 wrapped galvanized steel medium pressure ductwork and R-4 fiberglass low pressure ductwork. Balance/re-balance airflow at supply drops with airflow values indicated. (1) Year warranty.

Price…………………$6,800.00

Price to include: Sub-permit, labor, and miscellaneous materials.

Price does not include: After hours labor, or anything not specified above.

Thank you,

Robert Campbell,

B.T.S., Inc.