BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

April 28, 2010

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: GOLDTREE KIDNEY CENTER

We hereby submit specifications and estimate to:

Provide and install; (1) Trane 13 SEER/3-ton split-system air conditioner with electric heat, R-6 fiberglass ductwork, new refrigerant line-set with cover on exterior wall, thermostat per plan spec., (9) Titus grilles, and in-house test and balance. Demo bathroom e/f and cap duct. (1) Year full warranty and (5) year compressor warranty (part only after 1st year).

Price…………………$8,000.00

Price to include: Sub-permit, labor, and miscellaneous materials.

Price does not include: Concrete slab for new c/u, cutting/coring concrete, painting of l/s cover, or after hours labor.

Thank you,

Robert Campbell,

B.T.S., Inc.