BUilding Technology Svcs, inc. license# cac058685

2257 Vista parkway, suite 20 west palm beach fl 33411 561-712-1126 fax 561-712-1407

August 18, 2010                                             Revision #1

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: HARVEY GOLUB ASSOCIATES

We hereby submit specifications and estimate to:

Provide and install; (5) Ruskin fire dampers, (20) Titus grilles, new R-6 lined galvanized steel ductwork and R-6 fiberglass ductwork per plan. Relocate (1) existing VAV box & thermostat and relocate/reconfigure ductwork for same. Inspect and seal as required all existing ductwork. Inspect, adjust, and repair (labor only) all existing VAV boxes & thermostats as needed. Change jobsite equipment filters every (21) days. EMS as quoted by Trane. Provide in-house test and balance including (2) comfort balance visits to tenant.

Price…………………$16,750.00

Price to include: No fee sub-permit, labor, and miscellaneous materials.

Price does not include: Duct smoke detectors, after-hours labor, cutting/coring/patching of concrete or service/repair work on main air handler, chiller, or cooling tower.

Thank you,

Robert Campbell,

B.T.S., Inc.