BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

May 17, 2010

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: ST. JOHN’S IMPROVEMENT

We hereby submit specifications and estimate to:

Provide and install: (2) Titus 3FL return grilles, R-6 flex duct, collars, reducers, and hangers as required to relocate (15) supply air grilles. Clean (23) relocated grilles and inspect (3) heat pumps. Relocate (2) thermostats and (1) fire damper in metal duct. Rebalance (15) supply air drops.

Price…………………$2,500.00

Price to include: Demolition, labor, and miscellaneous materials.

Price does not include: Repair of heat pumps or anything not specifically stated above.

Thank you,

Robert Campbell,

B.T.S., Inc.