BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

April 22, 2010

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: WILLIAMS, LEININGER, AND COSBY

We hereby submit specifications and estimate to:

Provide and install; (28) Titus TDC-AA supply grilles and (24) Titus louvered return grilles. (5) Honeywell programmable thermostats including removal and relocation/extension, as needed, of wiring for thermostats and remote test stations. Reconfiguration of existing ductwork to adapt to new floor plan, in-house test and balance, and (1) year warranty.

Price…………………$10,000.00

Price to include: Sub-permit, labor, and miscellaneous materials.

Price does not include: New duct smoke detectors, remote test stations, or anything not specifically outlined above.

(5) New duct smoke detectors and remote test stations………………Add-$1,900.00

Remove (4) thermostats, (4) remote test stations, associated wiring, and “safe-off” a/c units in vacated spaces……………………………………………………………Add-$250.00

Reinstall (4) thermostats, (4) remote test stations, associated wiring (extended as needed), and start-up a/c units in vacated spaces…………….………………………Add-$500.00

Provide and install; (5) FHP water-source heat pumps (11.5-tons total) with new s.s. flex hoses, strainers, ball valves, blow-off ports, overflow pans, and float switches.Add-$30,000.00

All new ductwork…………………………………………………………Add-$12,300.00

Thank you,

Robert Campbell,

B.T.S., Inc.