BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

July 26, 2011                                                Revision #1

Fisher Contracting Corp.

2000 Avenue P, #5

Riviera Beach, FL. 33404

PROJECT: CENTREPARK EAST 3RD AND 4TH FLOOR RESTROOMS AND CORRIDORS

We hereby submit specifications and estimate to:

Demolish existing grilles and duct where appropriate.

Provide and install; (26) Titus grilles, (10) Ruskin fire dampers, (2) Honeywell programmable heat-pump thermostats, (2) stand-alone duct smoke detectors with access doors and (2) stand-alone remote test stations with strobe/horn, new ductwork per plan, full P.M. on (2) existing heat-pumps including filters.

Price…………………$8,700.00

Replace existing 14x8 fire damper with new………………..Add………………….$265.00

Replace existing 1.5-ton FHP with new including all appurtenances…Add………...$4,000.00

Price to include: (2) City of WPB sub-permits, labor, and miscellaneous materials.

Price does not include: After-hours labor, addressable duct smoke detectors for use with fire alarm system, addressable thermostat for use with BMS/BAS/EMS,

Thank you,

Robert Campbell,

B.T.S., Inc.