BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

October 9, 2013                                          Revision #2

Fisher Contracting Corp.

4133 Burns Road

Palm Beach Gardens, FL. 33410

PROJECT: FLORIDA CANCER CENTER

We hereby submit specifications and estimate to:

Provide and install; (1) Greenheck CUE-101HP-VG rooftop exhaust fan, 8” round metal ductwork as needed to connect isolator to rooftop fan, (1) low-loss volume damper at isolator exhaust outlet, and a (1) year warranty.

Price…………………$4,300.00

Price to include: (1) Sub-permit, labor, crane, and miscellaneous materials.

Price does not include: Roofing, structural steel work, high voltage breaker, wiring, conduit, etc. or anything not specified above.

Thank you,

Robert Campbell,

B.T.S., Inc.