BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

October 4, 2012

Fisher Contracting Corp.

2000 Avenue P, #5

Riviera Beach, FL. 33404

PROJECT: GPOC, SUITE 101

We hereby submit specifications and estimate to:

Provide and install; (2) Titus grilles with R-6 wrapped galvanized steel duct and R-6 fiberglass ductwork. Re-balance supply drops on same branch. (1) Year full warranty.

Price…………………$700.00

Price to include: Sub-permit, labor, and miscellaneous materials.

Price does not include: After-hours labor, independent test & balance, or anything not specified above.

Thank you,

Robert Campbell,

B.T.S., Inc.