BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

July 30, 2012

Rick Brandenburg

PROJECT: J. BORN RESIDENCE

We hereby submit specifications and estimate to:

Provide and install; New R-6 fiberglass ductwork, (17) baseline supply grilles, (1) return grille and (3) 50 cfm exhaust fans. Relocate air-handler and a (1) year warranty (excludes warranty on existing a/c equipment).

Price…………………$6,900.00

Price to include: Labor, and miscellaneous materials.

Price does not include: After-hours labor, permitting fees, outside air ductwork or anything not specified above.

Thank you,

Robert Campbell,

B.T.S., Inc.