BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

August 19, 2013

JFCS/ Mike Chavin

4975 Luwal Drive

Haverhill, FL. 33417

PROJECT: AIR-HANDLER IN PANTRY

Mike,

After installing float switches on the internal and external drain pans, the air-handler is fully compliant with all applicable building codes with regard to leak prevention.

Thank you,

Robert Campbell,

B.T.S., Inc.