BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

May 24, 2013

JFCS/ Rob Pease

5841 Corporate Way, Suite 200

West Palm Beach, FL. 33407

PROJECT: JFCS PREVENTIVE MAINTENANCE

We hereby submit specifications and estimate to:

Perform all appropriate preventive maintenance procedures every 3 months. Procedures include; check and clean (if necessary) condenser coil, clear drain pan, trap, & lines, spray evaporator coil with coil cleaner, add algae tabs to pan, install new pleated filter(s), new fan belt (annually on applicable units), grease bearings (where applicable), check refrigerant levels, measure compressor amperage draw, inspect electrical components, wiring, piping, and any other relevant aspect of the installation.

Pricing per quarterly visit:

Any unit or split-system in excess of 5-tons-$87.00

Split-systems from 1.5-tons to 5-tons-$49.00

Packaged rooftop units from 1.5-tons to 5- tons-$44

Price does not include: Labor for diagnosis or repair of problems outside of the stated scope of the maintenance, refrigerant, after-hours labor or anything not specified above.

Service calls/service labor during normal business hours (M-F 8am-4:30pm, excluding holidays) will be billed at a rate of $72.00 per hour and after-hours labor at a rate of $108.00 per hour including all travel time. There will be no charge for a service call caused by lack of maintenance (clogged drain or filter) for 90 days after maintenance was performed on any unit or split-system.

Thank you,

Robert Campbell,

B.T.S., Inc.