BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

May 24, 2013

JFCS/ Rob Pease

5841 Corporate Way, Suite 200

West Palm Beach, FL. 33407

PROJECT: JFCS GOOSENECK REPAIRS

We hereby submit specifications and estimate to:

Remove gooseneck which was pieced together and taped to the sleeve that penetrates the roof (this is the gooseneck pointing slightly upward). Pump down refrigerant in system, disconnect the condensing unit, retrofit a new gooseneck on to the sleeve, extend copper and wiring as needed to create a drip-loop, evacuate system, re-connect wiring, open valves, start system and adjust charge as needed, foam and mastic gooseneck.

Price………………..$400.00

Open goosenecks, remove disintegrating foam, straighten gooseneck, fill with new foam, and return on a subsequent visit to trim new foam and paint gooseneck & foam with waterproof mastic.

Price……………….$100.00 each

Thank you,

Robert Campbell,

B.T.S., Inc.