BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

August 26, 2011

George Ganthier

The Goodman Company

PROJECT: CHA CHAS KITCHEN A/C REPAIR

We hereby submit specifications and estimate to:

Remove 10-ton Trane kitchen a/c unit from ceiling, provide and install (2) new Trane water-source condensers in the unit. Evacuate and recharge both circuits. Reinstall a/c unit in kitchen ceiling, start unit and check operation.

Price…………………$7,500.00

Price to include: Labor, hi-jack, R-22, miscellaneous materials, and minor ceiling grid disassembly/reassembly.

Price does not include: After-hours labor, or disassembly/reassembly of ceiling grid “mains”.

Note: While we will do our best to remove the a/c unit to a vacant space to repair it; it is going to be a very tight fit getting the a/c unit out the kitchen door, and I cannot guarantee it will fit through so work may have to be performed in the kitchen.

Thank you,

Robert Campbell,

B.T.S., Inc.