BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

October 18, 2011                                     Request For Information

Wellington Equestrian Development, Inc.

3460 Fairlane Farms Road Suite #15

Wellington, FL. 33414

PROJECT: REMEDEX, BOCA RATON

- Please advise if it would be acceptable to provide Carrier/Payne/Bryant 4-ton 14-SEER split-systems in lieu of the Trane (American Standard) equipment specified.

- Please provide a make and model for the H-13 HEPA air filtration system.

Thank you,

Robert Campbell,

B.T.S., Inc.