Instrument Calibration Report

Project:       Alan Gould

Location:    1601 Forum Place, #600 West Palm Beach, Florida

| ### Instrument | ### Manufacturer | ### Model ### Number | Serial Number | Range | ### Calibration Date |
| --- | --- | --- | --- | --- | --- |
| Sound Level Meter | Quest Tech | 2900 | HWB070002 | 20 db to 140 db | 11-04-12 |
| Octave Band Analyzer | Quest Tech | 2900 | HWB070002 | 31.5 to 16khz | 11-04-12 |
| Sound Level Calibrator | Quest Tech | QC-10/20 | QIB070041 | 1khz (114db) | 11-04-12 |
| Vibration Meter | Quest Tech | VI-100 | QHB110007 | .01-19.99 in/sec | 10-18-12 |
| Hydrodata Multimeter | Shortridge | HDM-300 | W94078 | .01” to 150 psi | 11-01-12 |
| Transit Time Flowmeter | Polysonics | DCT7088 | B02KC023 | 0 to 50 ft/sec | 11-04-12 |
| Flowhood | Shortridge | ADM-860 | M88982 | 20 to 2500 CFM | 11-05-12 |
| Velometer | Shortridge | ADM-860 | M88982 | 0 to 30000 FPM | 11-05-12 |
| Pyrometer | Fluke | 52 K/J | 474502 | -328 to +1400 F | 11-13-12 |
| Electronic Tachometer | Pioneer | 36 | 3575-6 | 0 to 12000 RPM | 11-13-12 |
| Volt/Ampmeter | AWS | DSA2007 | DD712313 | 0 to 600 amps | 11-14-12 |
| Duct Leakage Kit | United McGill | LTK-8 | NA | NA | 11-14-12 |
| Digital Light Meter | Greenlee | 93-172 | 00000826 | .01 to 5000 Fc | 10-09-12 |
| Mercury Thermometer | Taylor | 6301 | NAP | -40 to +120 F | NAP |
| Mercury Thermometer | Taylor | 630 | NAP | 0 to +220 F | NAP |
| Dial Thermometer | Universal | H23-039 | NAP | -40 to +120 | NAP |
| Dial Thermometer | Universal | H23-040 | NAP | 0 to +220 F | NAP |
| Incline Manometer | Dwyer | 100.5 | 3575-1 | 0” to 1.0” | NAP |
| Incline Vertical Manometer | Dwyer | 400-5L | 3575-2 | 0” to 5.0” | NAP |
| U-Tube Manometer | Dwyer | 1223-36WM | 3575-8 | 0” to 36” | NAP |
| Pilot Tube | Dwyer | NAP | 3575-3 | 18” | NAP |
| Pilot Tube | Dwyer | NAP | 3575-4 | 36” | NAP |
| VelGrid | Shortridge | VLG84 | 1406-7 | 14” X 14” | NAP |
| VelProbe | Shortridge | SVP18 | 1406-8 | 18” | NAP |
| Magnehelic Gauge | Dwyer | 2000-0 | R70902CS73 | 0” to ½” | NAP |
| Magnehelic Gauge | Dwyer | 2001 | R80623R167 | 0” to 1” | NAP |
| Magnehelic Gauge | Dwyer | 2005 | R80425R128 | 0” to 5” | NAP |

Remarks: