BUilding Technology Svcs, inc. license# cac058685

2257 Vista parkway, suite 20 west palm beach fl 33411 561-712-1126 fax 561-712-1407

September 17, 2009                                    Change Order #1

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: BAY 12, BUILDING B at SOUTHERN PARK of COMMERCE

We hereby submit specifications and estimate to:

Provide and install; (1) Greenheck GB-161 rooftop exhaust fan with ¾ h.p. motor, curb and metal duct stubbed-down into space. Order via most expedited service offered (“5-day build”) which ships in one week.

Price…………………$1,550.00

Price to include: Labor, expedited build and ship charges.

Note: Lead time for this fan to ship is one week using the most expedited method offered.

Acceptance:

By:_________________________________________________

Fisher Contracting Corp.

Date________________________