BUilding Technology Svcs, inc. license# cac058685

2257 Vista parkway, suite 20 west palm beach fl 33411 561-712-1126 fax 561-712-1407

September 23, 2009                                    Change Order #1a

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: BAY 12, BUILDING B at SOUTHERN PARK of COMMERCE

We hereby submit specifications and estimate to:

Provide and install; (1) TPI CE24B exhaust fan per engineer, (1) Greenheck ESD-435X louver (24”wide x 36” high), and a 20 gauge galvanized steel custom fabricated 24”x24” to 24”x36” transition/adapter. Order louver via most expedited service offered (“5-day build”) which ships in one week.

Price…………………$1,400.00

Price to include: Labor, expedited ‘build’ and ship charges.

Optional baked enamel finish (classic bronze-GF108) with 1-year warranty. Add…………$150.00

Optional Kynar 70% finish (classic bronze-GF108) with 10 year warranty. Add…………..$300.00

Note: Optional finishes add lead-time to louver-ships in 1-1/2 weeks with finish.

Acceptance:

By:_________________________________________________

Fisher Contracting Corp.

Date________________________