BUilding Technology Svcs, inc. license# cac058685

2257 Vista parkway, suite 20 west palm beach fl 33411 561-712-1126 fax 561-712-1407

September 17, 2009                                    Change Order #2a

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: BAY 6, BUILDING B at SOUTHERN PARK of COMMERCE

We hereby submit specifications and estimate to:

Provide and install; (2) Titus 4FL return grille (20”x36”) per engineer’s instructions.

Price…………………$350.00

Price to include: Labor, expedited build and ship charges.

Note: Lead time for this grille is one week using the most expedited method offered.

Acceptance:

By:_________________________________________________

Fisher Contracting Corp.

Date________________________