Air Outlet

Test Report

Project:       Southern Park of Commerce                                                                  System:       Exhaust Fans

Location:     Building “B”, Bay 12, West Palm Beach, Florida                                      Test Apparatus:  Flowhood

| ### Area Served/ Room Number | No. | ### Type | ### Size | ### Design CFM | ### Prelim CFM | ### Prelim CFM |  | ### Final CFM | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Restroom | 1 | - | - | 57 | 56 |  |  | 56 |  |
| Warehouse | 2 | - | - | 8000 | 8197 |  |  | 8197 |  |

Remarks:

Test Date: 12-01-09                                             Readings By: Martinez                                              Page 3 of 4