BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

October 2, 2012                                         Change Order #1

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: BUSINESS ANSWERS INTERNATIONAL

We hereby submit specifications and estimate to:

Provide and install; (1) Baseline perforated lay-in supply air grille with 12” collar, connect to existing flex duct, cut ceiling tile, and cap (1) existing flex duct. (7) Baseline perforated lay-in return air grilles in plenum ceiling and cut (7) ceiling tiles.

Price…………………$464.00

Price to include: Labor, and miscellaneous materials.

Acceptance:

By:_________________________________________________

Fisher Contracting Corp.

Date________________________