BUilding Technology Svcs, inc. license# cac058685

2257 Vista parkway, suite 20 west palm beach fl 33411 561-712-1126 fax 561-712-1407

February 2, 2007

Apex Saunas & Wine Cellars, Inc.

8100 Belvedere Road, Suite 5

West Palm Beach, FL. 33411

PROJECT: AZURA HOMES

We hereby submit specifications and estimate to:

Provide labor, refrigerant (R134a), welding/brazing, system evacuation and miscellaneous materials sufficient to change-out existing evaporator coil & TXV (incorrectly installed and damaged during initial installation) on wine room system. Start-up and adjust system for normal operation. Anchor condensing unit.

Price……………………...$700.00

Thank you,

Robert Campbell,

B.T.S., Inc.