BUilding Technology Svcs, inc. license# cac058685

13833 Wellington trace #e4-157, wellington, fl. 33414 561-712-1126 fax 561-712-1407

CHANGE ORDER #1

To: Jim Cooper

From: Rob Campbell

Date: 7/6/11

Project: Driftwood

The following changes were requested by owner/contractor:

Relocate thermostat in Office 104 as it was on the wall where a credenza was to be located.

Re-hang VAV#3 as it was laying on the wall.

Price………………….$72.00

Acceptance:

By:__________________________________               Date:________________________

Fisher Contracting Corp.

It’s: