BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

August 9, 2012                                          	Change Order #1

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: FPL, JUNO BEACH BREAK ROOM

We hereby submit specifications and estimate to:

Remove existing VAV, demolish existing medium pressure ductwork, remove controls from existing VAV and install on new VAV (provided by FPL). Install new VAV in break room and enlarge hole in concrete block wall (to accommodate 14” flex duct).

Price…………………$250.00

Price to include: Labor.

Price does not include: EMS/BMS wiring.

Acceptance:

By:_________________________________________________

Fisher Contracting Corp.

Date________________________