BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

July 13, 2012                                           Change Order #1

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: GARNENS PARK OF COMMERCE, BAY 102

We hereby submit specifications and estimate to:

Provide; (1) Custom fabricated curb adaptor (7.5-ton to 5-ton).

Remove and re-install portions of ductwork which would otherwise not have been necessary to remove in order to provide access for structural steel work.

Price…………………$2,050.00

Price to include: Tax, freight, labor, crane, and miscellaneous materials.

Acceptance:

By:_________________________________________________

Fisher Contracting Corp.

Date________________________