BUilding Technology Svcs, inc. license# cac058685

13833 Wellington trace #e4-157, wellington, fl. 33414 561-712-1126 fax 561-712-1407

CHANGE ORDER #3

To: Jim Cooper

From: Rob Campbell

Date: 2/8/11

Project: Perlet and Shiner

The following changes were requested by owner/contractor:

Provide and install (1) 2.5-ton Florida Heat Pump (water source) with 208/230 single phase electric.

Note: Price is for unit only and assumes re-use of smoke detector, float switch, hanging set, flex hoses, and over-flow pan. Labor will be performed under Change Order #2.

Price…………………….$2514.00

Acceptance:

By:__________________________________               Date:________________________

Fisher Contracting Corp.

It’s: