BUilding Technology Svcs, inc. license# cac058685

13833 Wellington trace #e4-157, wellington, fl. 33414 561-712-1126 fax 561-712-1407

CHANGE ORDER #4

To: Jim Cooper

From: Rob Campbell

Date: 2/8/11

Project: Perlet and Shiner

The following changes were requested by owner/contractor:

Provide and install (2) ¾” Ball valves where water source heat pump is to be re-located ; also re-pipe  abandoned cooling tower lines and condensate drain line into vacant suite for future use. Perform work after hours as water flow will be interrupted on entire floor (7th).

Price………………….$265.00

Acceptance:

By:__________________________________               Date:________________________

Fisher Contracting Corp.

It’s: