BUilding Technology Svcs, inc. license# cac058685

13833 Wellington trace #e4-157, wellington, fl. 33414 561-712-1126 fax 561-712-1407

CHANGE ORDER #1

To: Jim Cooper

From: Rob Campbell

Date: 6/22/2011

Project: SFWMD

The following changes were requested by owner/contractor:

Provide and install (7) Air Guide perforated lay-in return grilles and (1) “Fire” strobe for existing remote test station.

Price………………….$248.23

Acceptance:

By:__________________________________               Date:________________________

Fisher Contracting Corp.

It’s: