BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

May 7, 2010

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: SPOC BAY 11 ADDITIONS

We hereby submit specifications and estimate to:

Provide and install; (1) Trane 5-Ton 13 SEER (R-410a) rooftop unit with 8KW electric heat (208/1ph), with curb adapter, R-6 fiberglass ductwork, (5) Titus grilles, (1) duct smoke detector (1) remote test station (a/v alert), in-house test and balance. (1) Year full warranty, and (5) year compressor warranty (part only after 1st year).

Price…………………$8,800.00

Price to include: No fee sub-permit, labor, crane (including flying existing RTU and curb adapter off of roof), and miscellaneous materials.

Price does not include: Roofing, wiring of duct smoke detector/remote test station, removal or transporting existing equipment or curb adapter after flying off of roof, or anything not specified above.

Thank you,

Robert Campbell,

B.T.S., Inc.