BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

April 21, 2010

Coola Fishbar

11340 Legacy Ave. #E-100

Palm Beach Gardens, FL. 33410

OUTSIDE AIR HOOD-NORTH RTU

We hereby submit specifications and estimate to:

Provide and install; Heavy-duty screening to cover outside air intake opening. Field fabricated galvanized steel sheet metal sufficient to shield intake air opening from driving rain.

Price…………………$112.00

Thank you,

Cindy Campbell,

B.T.S., Inc.