BUilding Technology Svcs, inc. license# cac058685

13833 WELLINGTON TRACE, E4-157 WELLINGTON, FL. 33414 561-712-1126 fax 561-712-1407

February 3, 2011

Fisher Contracting Corp.

4440 PGA Blvd. Suite 403

Palm Beach Gardens, FL. 33410

PROJECT: PERLET AND SHINER

We hereby submit specifications and estimate to:

Cut back tower water supply & return pipes so as to make them accessible for future use in the vacant suite (702) and install new shut-valves (ball). Re-pipe condensate drain and extend into vacant suite and cap for future use.

Price…………………$265.00

Price to include: After-hours labor, and miscellaneous materials.

Price does not include: Anything not specified above.

Thank you,

Robert Campbell,

B.T.S., Inc.